## ADS Requirements - Traceability
Reference | Area | Requirement | Requirement Description | Supporting information/ questions | Process | Step | Interface | Optionality | Destination Code Reference
MHHS-BR-DS-003 | ADS/SDS | Receive Metering Service appointment notification | ADS/SDS must obtain Registration Service Notification of Service Appointment & Supporting Info updates, confirming a Metering Service appointment and providing MPAN/ Meter Technical details, via the appropriate interface on the Data Integration Platform and maintain records accordingly for all meter types | PUB-036. Note for Smart meters PUB-036 contains all the Meter Technical Detail required ( No additional D-flow as is the case with Trad and Advanced ) | BP002 Change of Metering Service | 270 | PUB-036 | None | BSCP702, Section 2.2
MHHS-BR-DS-005 | ADS | Receive Meter Technical Details (Change of Metering Service) | ADS must receive Meter Technical Detail via the appropriate interface (D0268 on DTN), maintain records accordingly and investigate any discrepancies with data received from the Registration Service (PUB-036 via the Data Integration Platform). These details could be received from a prospective incoming Metering Service that does not turn out to be the Metering Service appointed when the Data Service appointment commences. Therefore ADS may wish to consider how to process these MTDs ie they will provide early view of MTDs at site, however further MTDs (which may be revised) could be received from a second subsequent Metering Service. |  | BP002 Change of Metering Service | 190 | D0268 | None | BSCP702, Section 2.2
MHHS-BR-DS-006.1 | ADS/SDS | Investigate missing or incorrect Meter Technical Details from Metering Service | ADS/SDS must investigate with the Metering Service where Meter Technical Details are not received for Advanced/ Traditional meters in expected timescales, as outlined in the Operational Choreography, or where they appear to be incorrect |  | BP002 Change of Metering Service | 271 |  | SDS - Service Traditional meters | BSCP702, Section 2.2
MHHS-BR-DS-007 | Data Service | Receive proposed appointment service request | Data Service must obtain Registration Service Request for Service Appointments, with Data Service proposed appointment requests, via the appropriate interface on the Data Integration Platform | PUB-033 | BP003 Change of Data Service | 220 | PUB-033 | None | BSCP702, Section 2.2
MHHS-BR-DS-008 | Data Service | Validate and respond to proposed appointment service request | Data Service must confirm that they are certified to service the connection type and able to contractually deliver the Data Service based on the information contained in the proposed appointment request and publish a response (acceptance or rejection) on the Data Integration Platform via the appropriate interface. Where the Data Service rejects an appointment request, a rejection reason should be provided in the response. Data Service should be aware that following the initial acceptance the appointment remains "prospective" and there is a possibility that it may need to be lapsed. | MHHS-IF-034 to Registration Service | BP003 Change of Data Service | 220/221 | MHHS-IF-034 | None | BSCP702, Section 2.2
MHHS-BR-DS-008.1 | ADS/SDS | Delete data for rejected appointments | ADS/SDS must, for any proposed appointments it rejects, delete any metering details received, as soon as operationally practicable following the rejection. |  | BP003 Change of Data Service | 232 |  | None | BSCP702, Section 2.2
MHHS-BR-DS-009 | Data Service | Notification of third party providers | Data Service must, where required, make their own arrangements for notifying any third party service providers ( eg Meter Reading Service, Meter Data Retrieval Service ) via a mechanism agreed bilaterally |  | BP003 Change of Data Service | 230 (BP003B -230) |  | Use of third party service providers | BSCP702, Section 2.2
MHHS-BR-DS-011 | Data Service | Existing appointment amendment | Data Service must be able to process requests to vary the conditions of an existing appointment received via the appropriate interface. For example change of contract code or change of MDR (SDS only). These should be validated and an outcome returned using the appropriate interface. In the case of rejection, a rejection reason should be provided in the response and the existing appointment will continue unamended. | Data Service should note: 1. In the case of Related MPANs, any accepted updates will also be applied to the Secondary MPANs 2. In the case of linked Import/Export MPANs, any accepted updates will also be applied to the Export MPAN (except in the case of Smart Data Service updates where a different SDS can be appointed) PUB-033 from Registration Service MHHS-IF-034 to Registration Service PUB-035 from Registration Service | BP003B Change of Existing Service Provider details | 220,225,96 | PUB-033 MHHS-IF-034 PUB-035 | None | BSCP702, Section 2.2
MHHS-BR-DS-012.1 | Data Service | Receive Registration notification of Data Service accepted/rejected appointments | Data Service must obtain Registration Service Appointment Status Notification updates, acknowledging the Prospective Data Service accepted/rejected appointments, via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-035 | BP003 Change of Data Service | 91 | PUB-035 |  | BSCP702, Section 2.2
MHHS-BR-DS-012 | Data Service | Receive Data Service lapsed notification | Data Service must obtain Registration Service Appointment Status Notifications, with Data Service lapsed appointments, via the appropriate interface on the Data Integration Platform and update records accordingly so as to ensure that the appointment does not become effective. ADS/SDS must delete meter technical details received for all lapsed appointments as soon as operationally practicable following receipt of the lapsed notification. | PUB-035 | BP003 Change of Data Service | 231/232 | PUB-035 | None | BSCP702, Section 2.2
MHHS-BR-DS-013 | Data Service | Receive Data Service appointment notification | Data Service must obtain Registration Service Notification of Service Appointment & Supporting Info updates, confirming a Data Service appointment, via the appropriate interface on the Data Integration Platform and update records with MPAN and Meter Technical Details (ADS/SDS only). For the avoidance of doubt this is the message that indicates that an appointment will/has taken effect. | PUB-036. Note for Smart meters PUB-036 contains all the Meter Technical Detail required ( No additional D-flow as is the case with Trad and Advanced ) | BP003 Change of Data Service | 340 | PUB-036 | None | BSCP702, Section 2.2
MHHS-BR-DS-015 | ADS | Receive Meter Technical Details (Change of Data Service) | ADS must receive Meter Technical Detail via the appropriate interface (D0268 on DTN), maintain records accordingly and investigate any discrepancies with data received from the Registration Service (PUB-036 via the Data Integration Platform). These details could be received from a prospective incoming Metering Service that does not turn out to be the Metering Service appointed when the Data Service appointment commences. Therefore ADS may wish to consider how to process these MTDs ie they will provide early view of MTDs at site, however further MTDs (which may be revised) could be received from a second subsequent Metering Service. |  | BP003 Change of Data Service | 345/346 | D0268 | None | BSCP702, Section 2.2
MHHS-BR-DS-018 | Data Service | Receive de-appointment notification | Data Service must obtain Registration Service Notification of Service De-Appointments via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-037 Note, a second notification will be received, if the first notification does not identify the new Data Service. | BP003 Change of Data Service | 96 | PUB-037 | None | BSCP702, Section 2.2
MHHS-BR-DS-019 | Data Service | Termination of third party arrangements | Data Service must, where required, make their own arrangements for terminating any third party service providers ( eg Meter Reading Service, Meter Data Retrieval Service ) via a mechanism agreed bilaterally |  | BP003 Change of Data Service | 302 |  | Use of third party service providers | BSCP702, Section 2.2
MHHS-BR-DS-022 | ADS/SDS | Determination of consumption up to de-appointment | ADS/SDS must, on de-appointment, make all reasonable attempts to obtain actual consumption history up to the point of de-appointment, for Advanced and Smart meters, for submission to settlements |  | BP003 Change of Data Service | 301 |  | SDS - Service Smart meters | BSCP702, Section 2.2
MHHS-BR-DS-029 | ADS/UMSDS | Receive Data Service appointment for linked Export MPAN | ADS/UMSDS must obtain Export MPAN appointments via the appropriate interface on the Data Integration Platform and update records with registration and metering details. ADS should note this message will be automatically triggered when a change of Data Service has successfully completed for the linked import MPAN ( ie acceptance of the Export MPAN was implicit in the accepting the appointment to the Import MPAN ) | PUB-036 | BP003 Change of Data Service | 790 | PUB-036 | None | BSCP702, Section 2.2
MHHS-BR-DS-030 | ADS/UMSDS | Receive Data Service de-appointment for linked Export MPAN | ADS/UMSDS must obtain Export MPAN de-appointments via the appropriate interface on the Data Integration Platform and maintain records accordingly. ADS/UMSDS should note this message will be automatically triggered when a change of Data Service has successfully completed for the linked import MPAN. | PUB-037 | BP003 Change of Data Service | 760 | PUB-037 | None | BSCP702, Section 2.2
MHHS-BR-DS-029.1 | ADS/SDS | Receive Data Service appointment for linked Related MPAN | ADS/SDS must obtain Related MPAN appointments via the appropriate interface on the Data Integration Platform and update records with registration and metering details. ADS/SDS should note this message will be automatically triggered when a change of Data Service has successfully completed for the Primary Related MPAN. | PUB-036 | BP003 Change of Data Service | 790 | PUB-036 | None | BSCP702, Section 2.2
MHHS-BR-DS-030.1 | ADS/SDS | Receive Data Service de-appointment for linked Related MPAN | ADS/SDS must obtain Related MPAN de-appointments via the appropriate interface on the Data Integration Platform and maintain records accordingly. ADS/SDS should note that this message will be automatically triggered when a change of Data Service has successfully completed for the Primary Related MPAN. | PUB-037 | BP003 Change of Data Service | 760 | PUB-037 | None | BSCP702, Section 2.2
MHHS-BR-DS-026.1 | ADS | Request consumption history | Incoming ADS must publish a consumption history replay request to the Data Integration Platform via the appropriate interface. | MHHS-IF-015 | BP003C Transfer of Reads | 805 | MHHS-IF-015 | None | BSCP702, Section 2.3
MHHS-BR-DS-026.2 | ADS | Receive consumption history | Incoming ADS must obtain a replay of consumption history via the appropriate interface on the Data Integration Platform and maintain records of the latest UTC period data available, utilising the provided Sender timestamps as required. | PUB-016 | BP003C Transfer of Reads | 820 | PUB-016 | None | BSCP702, Section 2.3
MHHS-BR-DS-026.3 | ADS | Attempt remote access to Advanced meter for Opening UTC Period Data | ADS must, following successful appointment, attempt to collect opening UTC period level data remotely from an Advanced meter. |  | BP003C Transfer of Reads | 800 |  | None | BSCP702, Section 2.3
MHHS-BR-DS-026.4 | ADS | Arrange on site download | ADS must, where remote access is not possible, arrange for an on-site download of the opening UTC period level data from an Advanced meter. |  | BP003C Transfer of Reads | 830 |  | None | BSCP702, Section 2.3
MHHS-BR-DS-026.6 | ADS | Attempt remote access to Advanced meter for closing UTC Period Data | ADS must, following de-appointment, attempt to collect closing UTC period level data remotely from an Advanced meter and use for final data processing. |  | BP003C Transfer of Reads | 855 |  | None | BSCP702, Section 2.3
MHHS-BR-DS-026.7 | ADS | Estimate closing UTC period level data | ADS must, where remote or local access is not possible, estimate closing UTC period level data for an Advanced meter in line with the Advanced Method Statement. |  | BP003C Transfer of Reads | 860 |  | None | BSCP702, Section 2.3
MHHS-BR-DS-031 | Data Service | Send notification of a customer direct contract | Data Service must publish a Customer Direct Contract Advisory on the Data Integration Platform via the appropriate interface for each MPAN that forms part of the contract, this will also include the contract end date. This can be done even in circumstances where the MPAN is not currently appointed for that Data Service, but is limited to where a contract has been formally agreed with the customer. | MHHS-IF-038 to Registration Service Note, for evergreen contracts the flag and end date should be updated bi-annually | BP003 Change of Data Service | 910 | MHHS-IF-038 | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-032 | Data Service | Receive customer direct contract response | Data Service must obtain Registration Service Customer Direct Contract Advisory Responses via the appropriate interface on the Data Integration Platform | PUB-039 | BP003 Change of Data Service | 950 | PUB-039 | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-033 | Data Service | Manage acceptance of customer direct contract | Data Service must, for accepted responses, maintain records to show which MPANs have been flagged as a customer direct contract |  | BP003 Change of Data Service | 950 |  | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-034 | Data Service | Coordination of customer direct contract appointments | Data Service must continue to manually coordinate the appointment of MPANs within the contract with other industry participants. | Notes: 1. The setting of the customer direct contract flag is simply an indicator held in the registration system and will have no effect in the initiation or blocking of other participants service appointment activities 2. This flag can be applied by a Data Service even if they are not currently appointed to a MPAN | BP003 Change of Data Service | 900 |  | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-035 | Data Service | Amendment or termination of customer direct contract | Data Service must have the ability to cancel or change the end date of a customer direct contract using the appropriate interface on the Data Integration platform | MHHS-IF-038 to Registration Service | BP003 Change of Data Service | 910 | MHHS-IF-038 | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-036 | Data Service | Manage rejection of customer direct contract | Data Service must investigate any rejections of customer direct contracts and re-submit as appropriate |  | BP003 Change of Data Service | 950 |  | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-037 | Data Service | Coordination of failed customer direct contract | Data Service must, in the case of rejection for an existing contract, liaise with their customer and other participants to determine why it appears overlapping contracts might exist |  | BP003 Change of Data Service | 950 |  | Service Customer Direct contracts | BSCP702, Section 2.4
MHHS-BR-DS-038 | ADS | Data collection from Advanced meter | ADS must collect settlement period data from an Advanced meter, in line with the notified Consent Granularity, either remotely or on site for all appointed MPANs (It is possible that consumption data is recorded either against local or UTC time. This should be taken into account when preparing data for submission to Central Settlements, in case any time adjustment is required) |  | BP004 Data Collection | 10 |  | None | BSCP702, Section 2.5
MHHS-BR-DS-039 | ADS | Register reading/UTC Period Level Consumption Data/Cumulative data | ADS must, where available, capture and store active and reactive power data for Register readings, Period Level Consumption Data and Cumulative data, alongside any other measurements, flags or alerts from the meter, and utilise for data processing as required | Data can be stored using whatever timestamp mechanism the ADS chooses, however for submission into Central Settlements Period Consumption Data will need to be in UTC time. | BP004 Data Collection | 15 |  | None | BSCP702, Section 2.5
MHHS-BR-DS-040 | Data Service | Publish timely data | Data Service must process and publish all data in line with timescales set out in the Operational Choreography document |  | BP004 Data Collection | 15 |  | None | BSCP702, Section 2.5
MHHS-BR-DS-045 | ADS/SDS | Schedule site visit (non Trad) | ADS/SDS must have the capability to schedule and manage site visits to Smart/ AMR sites where agreed with the Supplier in order to obtain an on-site read |  | BP004 Data Collection | 10/110 |  | SDS - Service Smart meters | BSCP702, Section 2.5
MHHS-BR-DS-049 | ADS/SDS | Receive and process Supplier provided register readings | ADS/SDS must be able to receive and process Supplier provided register read(s) for Traditional and Advanced meters (where appropriate), however sourced, via the appropriate interface. | D0010 on DTN | BP004 Data Collection | 130 | D0010 | SDS - Service Traditional meters | BSCP702, Section 2.5
MHHS-BR-DS-050 | ADS/SDS | Receive and process Supplier provided cumulative readings | ADS/SDS must be able to receive and process a Supplier provided cumulative read (Smart and Advanced only), actual/customer however sourced, via the appropriate interface on the Data Integration Platform | PUB-041 on DIP | BP004 Data Collection | 130 | PUB-041 | SDS - Service Smart meters | BSCP702, Section 2.5
MHHS-BR-DS-051 | ADS/SDS | Notify supplier unable to read meter | ADS/SDS must provide a notification to the Supplier of a failure to obtain a meter reading arising from a site visit via the appropriate interface | D0004 on DTN or as agreed bilaterally | BP004 Data Collection | 16/120 | D0004 | None | BSCP702, Section 2.5
MHHS-BR-DS-057 | ADS/SDS | Receive Supplier to DS notification | ADS/SDS must obtain Supplier to DS notification via the appropriate interface on the Data Integration Platform | PUB-024 | BP004 Data Collection | 230 | PUB-024 | None | BSCP702, Section 2.5
MHHS-BR-DS-058 | ADS/SDS | Process Supplier to DS notification | ADS/SDS must update their systems with any details from the Supplier notification of vacant sites, no communications, remote disconnection and remote reconnection | Note: Long term vacant and disconnection can impact how the Data Service should process data as described in the Method Statements. Remote disconnection and Remote reconnection only utilised for Smart. | BP004 Data Collection | 240 |  | None | BSCP702, Section 2.5
MHHS-BR-DS-060 | ADS/SDS | Expiry of DS notification | ADS/SDS should expire a notification (and the effect of that notification) in line with the data contained within the original notification or any revised expiry date received following the original message via the appropriate interface | PUB-024 | BP004 Data Collection | 230 | PUB-024 | None | BSCP702, Section 2.5
MHHS-BR-DS-072 | ADS | Prepare UTC Period Level Consumption | ADS must prepare MPAN level UTC Period Level Consumption Data in line with the Advanced Validation & Estimation Method statement |  | BP005 Data Processing | 70-110 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-074 | ADS | Historic data | ADS must store and use historic data to enable validation of period reads in line with the Advanced Validation & Estimation Method statement |  | BP005 Data Processing | 90 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-076 | ADS | Receive load shaping data | ADS must obtain Load Shape Data and utilise data as described in the Advanced Validation & Estimation Method Statement. Load shaping data will be available via the appropriate interfaces on the Data Integration Platform or as static data published to a publically accessible URI. | Currently Load Shape Service Period Data (PUB-022) and Load Shape Service Totals Data (PUB-023). | BP005 Data Processing | 120 | PUB-022 PUB-023 | None | BSCP702, Section 2.6
MHHS-BR-DS-079 | ADS | Receive updated load shaping data | ADS must in exceptional circumstances when a new load shape is made available, reprocess previously submitted data following the Advanced Validation & Estimation Method Statement | Currently Load Shape Service Period Data (PUB-022) and Load Shape Service Totals Data (PUB-023) This is expected to be an extremely rare occurrence. Data Services should consider whether this is automated or managed through their internal support processes | BP005 Data Processing | 120 | PUB-022 PUB-023 | None | BSCP702, Section 2.6
MHHS-BR-DS-082 | Data Service | Identify Load Shapes to be used for estimating | Data Service must, where required for estimating, identify (based on MPAN Registration data) the load shapes associated with each MPAN from the Load Shape Category table in Industry Standing Data. Data Service should maintain a record of any load shapes used. |  | BP005 Data Processing |  |  | None | BSCP702, Section 2.6
MHHS-BR-DS-083 | ADS | Estimate missing/invalid consumption | ADS must estimate consumption for any missing/ invalid periods using the Advanced Validation & Estimation Method Statement |  | BP005 Data Processing | 130 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-086 | ADS | Validate UTC Period Level Consumption Data | ADS must validate UTC Period Level Consumption Data in line with Advanced Validation & Estimation Method statement |  | BP005 Data Processing | 80 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-088 | ADS | Estimate missing/invalid consumption | ADS must re-estimate consumption for any estimated UTC periods using the Advanced Validation & Estimation Method Statement where further data becomes available to support a more accurate estimate being submitted, in line with the Operational Choreography |  | BP005 Data Processing | 130 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-091 | ADS | Validate full period Consumption | ADS must validate the full set of UTC Period Level Consumption Data for a given submission, including any estimates, in line with Advanced Validation & Estimation Method Statement |  | BP005 Data Processing | 140 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-093 | Data Service | Submit validated UTC Period Level Consumption Data | Data Service must publish/republish validated UTC Period Level Consumption Data ( kWh to 3 decimal places ) on the Data Integration Platform using the appropriate interface for all appointed MPAN's in line with the Operational Choreography document for each day of their appointment | MHHS-IF-021 to Central Settlements, Supplier and LDSO | BP005 Data Processing | 50/150 | MHHS-IF-021 | None | BSCP702, Section 2.6
MHHS-BR-DS-093.1 | ADS | Submit validated UTC Period Level Reactive Data | ADS must publish/republish validated UTC Period Level Reactive Data ( kVARh to 3 decimal places ) on the Data Integration Platform using the appropriate interface, alongside UTC Period Level Consumption Data, for all appointed MPAN's in line with the Operational Choreography document | MHHS-IF-021 to Supplier and LDSO | BP005 Data Processing | 150 | MHHS-IF-021 | None | BSCP702, Section 2.6
MHHS-BR-DS-094 | Data Service | Submit validated UTC Period Level Consumption Data (updated) | Data Service must republish updated validated UTC Period Level Consumption Data ( kWh to 3 decimal places ) as actual data, improved estimates or revised input data become available. ADS/SDS must re-estimate if new consumption data, meter reads or Meter Technical Details are received. UMSDS must reprocess data on receipt of updated Inventory Data, PECU Array Data or CMS Data, or where there is a change to ISD. | MHHS-IF-021 to Central Settlements, Supplier and LDSO | BP005 Data Processing | 50/150 | MHHS-IF-021 | None | BSCP702, Section 2.6
MHHS-BR-DS-094.1 | Data Service | Receive Consumption Data rejections | Data Service must obtain UTC Settlement Period Consumption Data Rejections, sent by Central Settlements on the Data Integration Platform, via the appropriate interface, investigate the validation failures and resubmit as appropriate | PUB-014 | BP005 Data Processing | BP016 Step 260 | PUB-014 | None | BSCP702, Section 2.6
MHHS-BR-DS-094.2 | Data Service | Receive Default Consumption | Data Service must obtain Notification of Defaulted UTC Settlement Period Consumption Data provided by Central Settlements via the appropriate interface on the Data Integration Platform and maintain records accordingly. Data Service could choose to use the characteristics data to derive and validate the load shape used for the default consumption values. In the case of ADS/UMSDS it should be noted that the GSP Group ID will not be required to determine the load shape. | PUB-013 | BP005 Data Processing |  | PUB-013 | None | BSCP702, Section 2.6
MHHS-BR-DS-095 | Data Service | Maintain records of submitted data | Data Service must keep a record of data submitted for audit purposes, as outlined in the Non Functional requirements. |  | BP005 Data Processing | 50/150 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-097 | Data Service | Investigate and resolve issues | Data Service must support investigations and resolution of issues highlighted by Central Settlements reporting and feedback from other participants |  | BP005 Data Processing |  |  | None | BSCP702, Section 2.6
MHHS-BR-DS-098.1 | ADS/SDS | Validate meter reading data | ADS/SDS must validate meter readings received from site visits or Customer Own Reads provided by the Supplier in line with the relevant Method Statement. |  | BP005 Data Processing | 175 |  | None | BSCP702, Section 2.6
MHHS-BR-DS-098.2 | ADS/SDS | Publish cumulative meter reads | ADS/SDS must, where available for Smart and Advanced meters, publish cumulative meter reads to the Supplier and LDSO via the appropriate interface. | IF-041 | BP005 Data Processing | 315 | IF-041 | SDS - Service Smart meters | BSCP702, Section 2.6
MHHS-BR-DS-098 | ADS/SDS | Provide meter reading data via D0010 | ADS/SDS must send register meter readings to the Supplier and LDSO via the appropriate interface. Where the readings, pass validation and are used by the Data Service they should have the Meter Reading Status (J0047) set to ‘T’ or where they fail validation set to ‘F’ in the D0010 flow. | D0010 on DTN | BP005 Data Processing | 190 | D0010 | SDS - Service Traditional meters | BSCP702, Section 2.6
MHHS-BR-DS-104 | Data Service | Receive de-appointment with reason of CSS deregistration | Data Service must obtain Registration Service Notification of Service De-Appointments, with a de-appointment reason of dereg, via the appropriate interface on the Data Integration Platform and maintain records accordingly. | PUB-037 | BP007 Disconnection | 140 | PUB-037 | None | BSCP702, Section 2.7
MHHS-BR-DS-105 | Data Service | Consumption treatment following de-appointment | Data Service must cease submission to settlement for any settlement dates after the effective date of it's de-appointment. For clarity, the Data Service retains responsibility for submitting data for the dates that they were appointed for, even after they have been de-appointed. |  | BP007 Disconnection | 140 BP003 - 96 BP003 - 760 |  | None | BSCP702, Section 2.7
MHHS-BR-DS-106 | Data Service | Receive change of energisation notification | Data Service must obtain Registration Service Notification of Change of Energisation Status updates via the appropriate interface on the Data Integration Platform and maintain records accordingly. | PUB-008 | BP008 Change of energisation | 155 | PUB-008 | None | BSCP702, Section 2.8
MHHS-BR-DS-107 | Data service | Investigate consumption on de-energised MPAN | Data Service must escalate to the Supplier or UMSO ( UMSDS only) where it is identified that consumption is occurring on a MPAN that is de-energised. However, this should not prevent it's submission into settlements. |  | BP008 Change of energisation |  |  | None | BSCP702, Section 2.8
MHHS-BR-DS-108 | ADS | Receive register read data for energisation change | ADS must, where valid register reads are received from the Metering Service via the appropriate interface, store the reads for use in the estimation process where no better data is available. Where no reading(s) are provided alongside the change in Energisation Status, the Data Service should, after 5 working days, generate an estimated reading(s) for the Date of the Change of Energisation Status (reflecting the nature of the Energisation Change) using the most appropriate method from the ADS Method Statement. | Initial read(s) for energisation, Final read(s) for de-energisation D0010 on DTN | BP008 Change of energisation | 145 | D0010 | None | BSCP702, Section 2.8
MHHS-BR-DS-111 | ADS/SDS | Receive change of energisation cumulative reads | ADS/SDS must, where provided by the Metering Service, obtain Advanced and Smart cumulative reads via the appropriate interface on the Data Integration Platform and store for use in the estimation process where no better data is available | Meter Readings (PUB-041) | BP008 Change of energisation | 150 | PUB-041 | SDS - Service Smart meters | BSCP702, Section 2.8
MHHS-BR-DS-112 | ADS | Provide meter reading data via D0010 | ADS must send change of energisation register meter readings to the Supplier and LDSO, via the appropriate interface | D0010 on DTN | BP008 Change of energisation | 145 | D0010 | None | BSCP702, Section 2.8
MHHS-BR-DS-115 | ADS/SDS | Process change of energisation reads | ADS/SDS must utilise change of energisation read(s) data for settlement, only where a complete set of validated data is not available from the meter | Details in data processing process. | BP008 Change of energisation | 185 |  | None | BSCP702, Section 2.8
MHHS-BR-DS-116 | Data Service | Process change of energisation reads | Data Service must re-process any UTC Period Level Consumption Data previously submitted to settlements, where advised of an energisation status change and no actual consumption has been recorded, particularly where this is back-dated | Details in data processing process. Note: only applies to UMSDS if Inventory data is available | BP008 Change of energisation | 185 |  | None | BSCP702, Section 2.8
MHHS-BR-DS-117 | ADS/SDS | Receive change of metering notification | ADS/SDS must obtain and process updates to meters and meter technical details via the appropriate interface on the Data Integration Platform | PUB-006 | BP009 Change of Metering | 185 | PUB-006 | None | BSCP702, Section 2.9
MHHS-BR-DS-118 | ADS/SDS | Receive change of metering cumulative reads | ADS/SDS must obtain and process cumulative meter reads (Smart and Advanced only) received via the appropriate interface on the Data Integration Platform and store for use in estimation processes where no better data is available | Initial reads for Exchange and Install, Final reads for Exchange and Removal Meter Readings (PUB-041) | BP009 Change of Metering | 180 | PUB-041 | SDS - Service Smart meters | BSCP702, Section 2.9
MHHS-BR-DS-119 | ADS | Receive Meter Technical Detail | ADS must, where Meter Technical Details are received from the Advanced Metering Service via the appropriate interface, maintain records accordingly and investigate any discrepancies with data received from the Registration Service. In the case where Related MPANs or Import/Export linked meters exist, ADS should expect to receive Meter Technical Details for all the MPANs in the Related MPAN or Import/Export group. | D0268 on DTN. | BP009 Change of Metering | 175 | D0268 | None | BSCP702, Section 2.9
MHHS-BR-DS-120 | ADS | Receive change of metering register reads | ADS must, where register reads are received via the appropriate interface, store the reads for use in the estimation processes where no better data is available. Where no reading(s) are provided alongside the change in metering, the Data Service should, after 5 working days, generate an estimated reading(s) for the Date of the Removal of the previous meter(s) using the most appropriate method from the Method Statement. Any newly installed meter should be assumed to have been installed with an index position of Zero. | Initial reads for Exchange and Install, Final reads for Exchange and Removal D0010 on DTN | BP009 Change of Metering | 175 | D0010 | None | BSCP702, Section 2.9
MHHS-BR-DS-123 | ADS/SDS | Process change of metering reads | ADS/SDS must utilise change of metering read(s) data for settlement, only where a complete set of validated data is not available from the meter | Details in data processing process. | BP009 Change of Metering | 225 |  | None | BSCP702, Section 2.9
MHHS-BR-DS-124 | ADS/SDS | Process change of metering reads | ADS/SDS must re-process any UTC Period Level Consumption Data previously submitted to settlements, where advised of any change of metering and no actual consumption has been recorded, particularly where this is back-dated | Details in data processing process. | BP009 Change of Metering | 225 |  | None | BSCP702, Section 2.9
MHHS-BR-DS-125 | Data Service | Receive Meter Point Location (MPL) address/GSP Group ID update notification | Data Service must obtain MPL address/ GSP Group ID updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 Change of registration data | 70 | PUB-018 | None | BSCP702, Section 2.10
MHHS-BR-DS-126 | ADS/SDS | Receive domestic premise indicator update notification | ADS/SDS must obtain domestic premise indicator updates via the appropriate interface on the Data Integration Platform, maintain records accordingly and consider impacts to service delivery as required | PUB-018 | BP010 Change of registration data | 160 | PUB-018 | None | BSCP702, Section 2.10
MHHS-BR-DS-127 | ADS/SDS | Receive Consent Granularity Indicator update notification | ADS/SDS must obtain Consent Granularity Indicator updates via the appropriate interface on the Data Integration Platform, maintain records accordingly and assess if a change in recovery pattern is required | PUB-026 | BP010 Change of registration data | 230 | PUB-026 | SDS - Service Smart meters | BSCP702, Section 2.10
MHHS-BR-DS-128 | ADS/SDS | Change recovery pattern | ADS/SDS must commence collection of settlement period consumption data (active import) in line with the updated customer consent, from the date that the Consent Granularity Indicator update notification is received, even if the date the change in consent was captured is in the past. There is no requirement to alter data that has been previously captured using the previously consented recovery pattern. |  | BP010 Change of registration data | 230 |  | SDS - Service Smart meters | BSCP702, Section 2.10
MHHS-BR-DS-130.1 | ADS/SDS | Receive Related MPAN update notification | ADS/SDS must be able to obtain Related MPAN updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 (BPM2) Change of registration data | 380 | PUB-018 | None | BSCP702, Section 2.10
MHHS-BR-DS-130.2 | Data Service | Receive Energy Direction update notification | Data Service must be able to obtain Energy Direction updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 (BPM2) Change of registration data | 490 | PUB-018 | None | BSCP702, Section 2.10
MHHS-BR-DS-130.3 | Data Service | Receive Metered Status update notification | Data Service must be able to obtain Metered Status updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 (BPM2) Change of registration data | 610 | PUB-018 | None | BSCP702, Section 2.10
MHHS-BR-DS-130.5 | Data Service | Receive Import/Export linkage update notification | Data Service must be able to obtain Import/Export linkage updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-026 | BP010 (BPM3) Change of registration data | 930 | PUB-026 | None | BSCP702, Section 2.10
MHHS-BR-DS-130.6 | Data Service | Receive Profile Class/SSC update notification | Data Service must obtain legacy data item (Profile Class/SSC) updates from Registration Service via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-026 | BP010D Change of registration data | 1050 | PUB-026 | None | BSCP702, Section 2.10
MHHS-BR-DS-131 | ADS | Qualify to provide an Advanced Data Service under the Balancing and Settlement Code | The ADS must be qualified to operate as a Data Service in line with the Qualification Process and the Advanced Data Service BSCPs | Exact qualification mechanism and BSCPs to be confirmed. The BSCPs will be developed post design, but to be reflective of the requirements/design. The new BSCPs will cover the non MHHS process requirements for complex sites, asset metering and on site activities eg management of tampering/ theft | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-134 | ADS | Comply with shared metering requirements | ADS must, where providing a shared metering scheme service, perform the Advanced Data Service role as outlined in [BSCP 550] for allocating the proportion of active energy for a shared metering scheme | BSCP to be confirmed. | Overall |  |  | Service Shared Metering schemes | BSCP702, Section 2.1
MHHS-BR-DS-137 | All Services | Flexible settlement period duration | All services should, where possible, build in the ability to configure the settlement period duration during their solution design, in order to support any future move to a different settlement period duration | Currently 30 minutes | Overall |  |  | Advice | BSCP702, Section 2.1
MHHS-BR-DS-138 | All Services | Publish data via the Data Integration Platform in agreed ISO8601 date/time format | All services must publish data following ISO8601 format - YYYY-MM-DDTHH:MM:SS±TZH:TZM. |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-139 | All Services | Receive Industry Standing Data | All services must obtain Industry Standing Data (ISD) update notifications via the appropriate interface, and if required take necessary steps to obtain refreshed ISD data, maintain their records accordingly and reference/ utilise ISD as appropriate as part of the service delivery. | PUB-047 | Overall |  | PUB-047 | None | BSCP702, Section 2.1
MHHS-BR-DS-139.1 | All Services | Map DIP ID/ Role to DTN Market Participant ID/ Role | All services must utilise Industry Standing Data to identify the relevant DIP ID/Role or DTN Market Participant ID/Role, as appropriate, to be used when communicating over the DIP/DTN. | PUB-047 | Overall |  | PUB-047 | None | BSCP702, Section 2.1
MHHS-BR-DS-139.2 | All Services | Message addressing | All services must derive and populate the DIP addressing (primary recipients) for all outbound interfaces in line with the rules described in the interface specification | Note, Addressing functionality is described in the End to End Solution Architecture. | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-141 | Data Service | Data retention and audit | Data services must retain data in line with the Non Functional requirements |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-142 | All Services | Process data in a timely manner | All services must process data and share outputs with other parties in line with timescales set out in the Operational Choreography document |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-143.2 | All Services | Qualification for Data Integration Platform access | All services must undergo qualification in order to realise operational access to the DIP | Exact qualification mechanism to be confirmed. | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-143 | All Services | Manage Data Integration Platform error messages | All Services must obtain Data Integration Platform error messages in line with the End to End Solution Architecture, review the impacted data and re-issue corrected messages/transactions as required |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-143.1 | All Services | Inbound DIP message validation | All services must return Data Integration Platform error messages in line with the End to End Solution Architecture. Unexpected and/or un-processable messages should be returned to the DIP/ originating party |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-144 | All Services | Ensure responses received | All services, when transacting via the DIP, must ensure that they implement monitoring so as to identify where expected responses are not received within standard DIP SLA's, as outlined in the Operational Choreography, so that the appropriate investigative/ resolution activity can be undertaken. |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-144.1 | All Services | DIP activity/ performance dashboard | All services must have familiarity with and actively monitor any Data Integration Platform tools for tracking messages, as outlined in the End to End Solution Architecture, so that the necessary investigative action can be taken when required. |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-145 | All Services | Reporting requirements | All services must provide and receive reports in line with agreed reporting requirements and delivery method as outlined in MHHSP-ERI011B ECS reports and interfaces | Service Provider reporting is out of scope of M5 Design Baseline- Performance Assurance requirements to be drafted after M5 | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-146 | ADS/SDS | Identify related MPANs | ADS/SDS, where required, must be able to identify ( using the appropriate interface ) and appropriately manage related MPANs as described in the relevant BSCP | PUB-033, PUB-035, PUB-036 | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-147 | ADS | Ability to handle faults for Advanced Meters | ADS must investigate and provide feedback on any faulty equipment identified, or notified by the Supplier, via the appropriate interfaces as outlined in the relevant BSCP. | D0001 and D0002 on DTN Advanced Fault process will align to the existing process as outlined in BSCP 502 3.4.3 (New updated BSCP to be confirmed) | Overall |  | D0001 D0002 | None | BSCP702, Section 2.1
MHHS-BR-DS-148 | ADS | Manage proving tests | ADS must manage proving test processes in line with the existing Half Hourly Data Collection processes as outlined in BSCP-502 section 3.5 | Advanced Data Service BSCP will incorporate proving test requirements from BSCP 502 during Code drafting. | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-148.1 | ADS | Manage protocol approval | ADS must comply with protocol approval as outlined in BSCP601 |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-149 | All Services | Ability to use existing DTC flows | Some MHHS processes require the continued use of DTC flows, Services should ensure that if they plan to service customer types that utilise these processes then a mechanism will be required for transmitting/receiving DTC flows. |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-150 | Data Service | Most accurate data for each settlement run | Data Service must ensure that its systems and processes operate in such a way as to support the most up to date and accurate data being available to settlements in advance of the cut off for each formal settlement run as outlined in the Operational Choreography. |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-152 | All Services | Validate data | All Services should implement data validation steps and techniques that they feel are appropriate to ensure the most accurate and efficient delivery of the service |  | Overall |  |  | Advice | BSCP702, Section 2.1
MHHS-BR-DS-154.1 | ADS/SDS | Receive customer details | ADS/SDS must receive Notification of Customer Details from the Supplier via the appropriate interface and maintain records accordingly | D0302 on the DTN | Overall |  | D0302 | None | BSCP702, Section 2.1
MHHS-BR-DS-154.2 | ADS/SDS | Manage previous customer details | ADS/SDS must, on receipt of updated customer details, delete or obfuscate the previously held customer details |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-154.3 | ADS/SDS | Receive Priority Service Register (PSR) details | ADS/SDS must receive Priority Service Details from the Supplier via the appropriate interface and maintain records accordingly | D0225 on the DTN | Overall |  | D0225 | None | BSCP702, Section 2.1
MHHS-BR-DS-154.4 | ADS/SDS | Manage previous Priority Service Register (PSR) details | ADS/SDS must, on receipt of updated PSR details, delete or obfuscate the previously held PSR details |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-154.5 | ADS/SDS | Manage Customer/ Priority Service Register (PSR) details on de-appointment | ADS/SDS must, on receipt of a de-appointment notification becoming effective, delete or obfuscate the previously held PSR and customer details |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-156 | All Services | Electricity Enquiry Service | All services could choose to take advantage of the Electricity Enquiry Service (EES previously known as ECOES) in order to obtain the current data associated with an MPAN in cases where a query arises around the accuracy of data held. |  | Overall |  |  | Advice | BSCP702, Section 2.1
MHHS-BR-DS-157 | All Services | Manage data on receipt of interfaces | All Services must maintain and update their records with any data received on interfaces to ensure the most accurate and efficient delivery of the service. |  | Overall |  |  | None | BSCP702, Section 2.1
MHHS-BR-DS-158 | ADS/SDS | Receive Change of Segment Meter exchange confirmation | ADS/SDS must be able to obtain a Registration Service Change of Segment Meter Exchange confirmation with MTDs and readings via the appropriate interface on the Data Integration Platform, even when it is from a 3rd party Metering Service (ie not the currently appointed Metering Service). | PUB-006 | BP011A Change of Connection Type/ Change of Segment | 285 | PUB-006 | None | TBD
MHHS-BR-DS-159 | ADS/SDS | Receive Change of Connection Type notification | ADS/SDS must be able to obtain Registration Service Change of Connection Type notifications via the appropriate interface on the Data Integration Platform and maintain records accordingly. | PUB-043 | BP011B Change of Connection Type/ Change of Segment | 544 | PUB-043 | None | TBD
MHHS-BR-DS-159.1 | ADS/SDS | Receive Invalid Market Segment advisory | ADS/SDS must obtain Invalid Market Segment Advisory notifications, sent from the Registration Service on the Data Integration Platform, via the appropriate interface. | PUB-045 Registration Service will run the Advisory Notification process each processing day to identify MPANs with an Invalid Market Segment - that is to say sites with an Invalid Connection Type-Meter Type Combination. | BP011C Registration Service Monitoring & Notification | 596 | PUB-045 | None | TBD
MHHS-BR-DS-160 | ADS/SDS | Receive Override Read | ADS/SDS must obtain Override Reads, sent by the Supplier on the Data Integration Platform, via the appropriate interface and maintain records accordingly. | PUB-041 | BP016 Consumption Amendment | 520 | PUB-041 | None | TBD
MHHS-BR-DS-161 | ADS/SDS | Process Override Read | ADS/SDS must, under all circumstances, use the override read to recalculate any pre-RF consumption and re-issue the consumption data as required. |  | BP016 Consumption Amendment | 540 |  | None | TBD
MHHS-BR-DS-162 | ADS/SDS | Receive Consumption Amendment Request | ADS/SDS must obtain Consumption Amendment Requests, sent by the Supplier on the Data Integration Platform, via the appropriate interface and maintain records accordingly | PUB-027 | BP016 Consumption Amendment | 70 | PUB-027 | None | TBD
MHHS-BR-DS-163 | ADS/SDS | Validate MPAN ownership | ADS/SDS must validate that they were responsible for the MPAN for the Consumption Amendment Period requested |  | BP016 Consumption Amendment | 80 |  | None | TBD
MHHS-BR-DS-164 | ADS/SDS | Calculate revised UTC period data | ADS/SDS must calculate the consumption and reactive data, where required, for each UTC period impacted by the Consumption Amendment Request using the relevant Method Statement. |  | BP016 Consumption Amendment | 85 |  | None | TBD
MHHS-BR-DS-165 | ADS/SDS | Validate Consumption Amendment | ADS/SDS must validate the UTC period Consumption Amendment data in line with the relevant Method Statement |  | BP016 Consumption Amendment | 90 |  | None | TBD
MHHS-BR-DS-166 | ADS/SDS | Reject Consumption Amendment Request | ADS/SDS must publish a Consumption Amendment rejection on the Data Integration Platform via the appropriate interface, where any validation is failed, with the appropriate rejection reason. | MHHS-IF-028 | BP016 Consumption Amendment | 90 | MHHS-IF-028 | None | TBD
MHHS-BR-DS-167 | ADS/SDS | Issue revised UTC period data | ADS/SDS must publish validated UTC Period Level Consumption and Reactive Data ( where required ) for the Consumption Amendment on the Data Integration Platform using the appropriate interface | MHHS-IF-021 to Central Settlements, Supplier and LDSO | BP016 Consumption Amendment | 120 | MHHS-IF-021 | None | TBD
MHHS Data Service Requirements - ADS Requirements

## SDS Requirements - Traceability
Reference | Area | Requirement | Requirement Description | Supporting information/ questions | Process | Step | Interface | Optionality | BSC Artefact | Section | Comments
MHHS-BR-DS-046 | SDS | Schedule site visit | SDS must, via a third party where required, manage a schedule of site visits for Traditional meters and arrange site visits to enable submission of consumption data for settlements in line with timescales set out in the Operational Choreography document |  | BP004 | 110 |  | SDS - Service Traditional meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.3.1
MHHS-BR-DS-047 | SDS | Attempt meter read | SDS must, via a third party where required, read the meter and maintain reading details accordingly |  | BP004 | 120/130 |  | SDS - Service Traditional meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.3.2
MHHS-BR-DS-048 | SDS | Attempt meter read | SDS must, via a third party where required, record the reason why a meter cannot be read and maintain records accordingly |  | BP004 | 120 |  | SDS - Service Traditional meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.3.3
MHHS-BR-DS-049 | ADS/SDS | Receive and process Supplier provided register readings | ADS/SDS must be able to receive and process Supplier provided register read(s) for Traditional and Advanced meters (where appropriate), however sourced, via the appropriate interface. | D0010 on DTN | BP004 | 130 | D0010 | SDS - Service Traditional meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.3.6
MHHS-BR-DS-050 | ADS/SDS | Receive and process Supplier provided cumulative readings |  | PUB-041 on DIP | BP004 | 130 | PUB-041 | SDS - Service Smart meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.2.5
MHHS-BR-DS-051 | ADS/SDS | Notify supplier unable to read meter | ADS/SDS must provide a notification to the Supplier of a failure to obtain a meter reading arising from a site visit via the appropriate interface | D0004 on DTN or as agreed bilaterally | BP004 | 16/120 | D0004 | None
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.3.4
MHHS-BR-DS-052 | SDS | Receive consumption for Smart meters |  |  | BP004 | 130 |  | SDS - Service Smart meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.2.6
MHHS-BR-DS-053 | SDS | Receive failure response from DCC |  |  | BP004 | 130 |  | SDS - Service Smart meters
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.2.3
MHHS-BR-DS-057 | ADS/SDS | Receive Supplier to DS notification | ADS/SDS must obtain Supplier to DS notification via the appropriate interface on the Data Integration Platform | PUB-024 | BP004 | 230 | PUB-024 | None
[5 empty] | Data Collection |  |  |  | BSCP701 | 3.2.5
MHHS-BR-DS-058 | ADS/SDS | Process Supplier to DS notification | ADS/SDS must update their systems with any details from the Supplier notification of vacant sites, no communications, remote disconnection and remote reconnection | Note: Long term vacant and disconnection can impact how the Data Service should process data as described in the Method Statements. Remote disconnection and Remote reconnection only utilised for Smart. | BP004 | 240 |  | None
[5 empty] | Data Collection |  |  |  | BSCP701 | 4.2
MHHS-BR-DS-060 | ADS/SDS | Expiry of DS notification | ADS/SDS should expire a notification (and the effect of that notification) in line with the data contained within the original notification or any revised expiry date received following the original message via the appropriate interface | PUB-024 | BP004 | 230 | PUB-024 | None
[5 empty] | Data Collection | [5 empty] | PSL100?
MHHS-BR-DS-073 | SDS | Prepare UTC Period Level Consumption | SDS must prepare MPAN level UTC Period Level Consumption Data in line with the Smart Validation & Estimation Method statement |  | BP005 | 70-110 |  | None
[5 empty] | Data Processing | (BP004-160) |  |  | BSCP701 | 3.4
MHHS-BR-DS-075 | SDS | Historic data | SDS must store and use historic data to enable validation of period reads in line with the Smart Validation & Estimation Method Statement |  | BP005 | 90 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 4.3
MHHS-BR-DS-077 | SDS | Receive load shaping data | SDS must obtain Load Shape Data and utilise data as described in the Smart Validation & Estimation Method Statement. Load shaping data will be available via the appropriate interfaces on the Data Integration Platform or as static data published to a publically accessible URI. | Currently Load Shape Service Period Data (PUB-022) and Load Shape Service Totals Data (PUB-023) | BP005 | 120 | PUB-022 | None
[5 empty] | Data Processing |  | PUB-023 |  | BSCP701 | 3.4.2
MHHS-BR-DS-080 | SDS | Receive updated load shaping data | SDS must in exceptional circumstances when a new load shape is made available, reprocess previously submitted data following the Smart Validation & Estimation Method Statement | Currently Load Shape Service Period Data (PUB-022) and Load Shape Service Totals Data (PUB-023) | BP005 | 120 | PUB-022 | None
|  |  |  | This is expected to be an extremely rare occurrence. Data Services should consider whether this is automated or managed through their internal support processes | Data Processing |  | PUB-023 |  | BSCP701 | 2
MHHS-BR-DS-082 | Data Service | Identify Load Shapes to be used for estimating | Data Service must, where required for estimating, identify (based on MPAN Registration data) the load shapes associated with each MPAN from the Load Shape Category table in Industry Standing Data. Data Service should maintain a record of any load shapes used. |  | BP005 |  |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 4.3
MHHS-BR-DS-084 | SDS | Estimate missing/invalid consumption | SDS must estimate consumption for any missing/ invalid periods using the Smart Validation & Estimation Method Statement |  | BP005 | 130 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 3.4.4
MHHS-BR-DS-087 | SDS | Validate UTC Period Level Consumption Data | SDS must validate UTC Period Level Consumption Data in line with the Smart Validation & Estimation Method Statement |  | BP005 | 80 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 3.4.1
MHHS-BR-DS-089 | SDS | Estimate missing/invalid consumption | SDS must re-estimate consumption for any estimated UTC periods using the Smart Validation & Estimation Method Statement where further data becomes available to support a more accurate estimate being submitted, in line with the Operational Choreography |  | BP005 | 130 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 4.2
MHHS-BR-DS-092 | SDS | Validate full period consumption | SDS must validate the full set of UTC Period Level Consumption Data for a given submission, including any estimates, in line with the Smart Validation & Estimation Method Statement |  | BP005 | 140 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 4.3 & 4.7
MHHS-BR-DS-093 | Data Service | Submit validated UTC Period Level Consumption Data | Data Service must publish/republish validated UTC Period Level Consumption Data ( kWh to 3 decimal places ) on the Data Integration Platform using the appropriate interface for all appointed MPAN's in line with the Operational Choreography document for each day of their appointment | MHHS-IF-021 to Central Settlements, Supplier and LDSO | BP005 | 50/150 | MHHS-IF-021 | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 3.4.5
MHHS-BR-DS-094 | Data Service | Submit validated UTC Period Level Consumption Data (updated) | Data Service must republish updated validated UTC Period Level Consumption Data ( kWh to 3 decimal places ) as actual data, improved estimates or revised input data become available. ADS/SDS must re-estimate if new consumption data, meter reads or Meter Technical Details are received. UMSDS must reprocess data on receipt of updated Inventory Data, PECU Array Data or CMS Data, or where there is a change to ISD. | MHHS-IF-021 to Central Settlements, Supplier and LDSO | BP005 | 50/150 | MHHS-IF-021 | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 4.2
MHHS-BR-DS-094.1 | Data Service | Receive Consumption Data rejections | Data Service must obtain UTC Settlement Period Consumption Data Rejections, sent by Central Settlements on the Data Integration Platform, via the appropriate interface, investigate the validation failures and resubmit as appropriate | PUB-014 | BP005 | BP016 | PUB-014 | None
[5 empty] | Data Processing | Step 260 |  |  | BSCP701 | 2
MHHS-BR-DS-094.2 | Data Service | Receive Default Consumption | Data Service must obtain Notification of Defaulted UTC Settlement Period Consumption Data provided by Central Settlements via the appropriate interface on the Data Integration Platform and maintain records accordingly. Data Service could choose to use the characteristics data to derive and validate the load shape used for the default consumption values. In the case of ADS/UMSDS it should be noted that the GSP Group ID will not be required to determine the load shape. | PUB-013 | BP005 |  | PUB-013 | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 2
MHHS-BR-DS-095 | Data Service | Maintain records of submitted data | Data Service must keep a record of data submitted for audit purposes, as outlined in the Non Functional requirements. |  | BP005 | 50/150 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 1.2 & 4.3
MHHS-BR-DS-097 | Data Service | Investigate and resolve issues | Data Service must support investigations and resolution of issues highlighted by Central Settlements reporting and feedback from other participants |  | BP005 |  |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 2
MHHS-BR-DS-098.1 | ADS/SDS | Validate meter reading data | ADS/SDS must validate meter readings received from site visits or Customer Own Reads provided by the Supplier in line with the relevant Method Statement. |  | BP005 | 175 |  | None
[5 empty] | Data Processing |  |  |  | BSCP701 | 4.2
MHHS-BR-DS-098.2 | ADS/SDS | Publish cumulative meter reads | ADS/SDS must, where available for Smart and Advanced meters, publish cumulative meter reads to the Supplier and LDSO via the appropriate interface. | IF-041 | BP005 | 315 | IF-041 | SDS - Service Smart meters
[5 empty] | Data Processing |  |  |  | BSCP701 | 3.4.2
MHHS-BR-DS-098 | ADS/SDS | Provide meter reading data via D0010 | ADS/SDS must send register meter readings to the Supplier and LDSO via the appropriate interface. Where the readings, pass validation and are used by the Data Service they should have the Meter Reading Status (J0047) set to ‘T’ or where they fail validation set to ‘F’ in the D0010 flow. | D0010 on DTN | BP005 | 190 | D0010 | SDS - Service Traditional meters
[5 empty] | Data Processing |  |  |  | BSCP701 | 3.1.17
MHHS-BR-DS-104 | Data Service | Receive de-appointment with reason of CSS deregistration | Data Service must obtain Registration Service Notification of Service De-Appointments, with a de-appointment reason of dereg, via the appropriate interface on the Data Integration Platform and maintain records accordingly. | PUB-037 | BP007 | 140 | PUB-037 | None
[5 empty] | Disconnection |  |  |  | BSCP701 | 3.1.15
MHHS-BR-DS-105 | Data Service | Consumption treatment following de-appointment | Data Service must cease submission to settlement for any settlement dates after the effective date of it's de-appointment. For clarity, the Data Service retains responsibility for submitting data for the dates that they were appointed for, even after they have been de-appointed. |  | BP007 | 140 |  | None
[5 empty] | Disconnection | BP003 - 96
[6 empty] | BP003 - 760 |  |  |  |  | PSL100?
MHHS-BR-DS-106 | Data Service | Receive change of energisation notification | Data Service must obtain Registration Service Notification of Change of Energisation Status updates via the appropriate interface on the Data Integration Platform and maintain records accordingly. | PUB-008 | BP008 | 155 | PUB-008 | None
[5 empty] | Change of energisation |  |  |  | BSCP701 | 3.7.1
MHHS-BR-DS-107 | Data service | Investigate consumption on de-energised MPAN | Data Service must escalate to the Supplier or UMSO ( UMSDS only) where it is identified that consumption is occurring on a MPAN that is de-energised. However, this should not prevent it's submission into settlements. |  | BP008 |  |  | None
[5 empty] | Change of energisation |  |  |  | BSCP701 | 3.2.11
MHHS-BR-DS-109 | SDS | Receive register read data for energisation change | SDS must receive register reads from the Metering Service via the appropriate interface for Traditional meters and store for use in estimation processes where no better data is available. Where no reading(s) are provided alongside the change in Energisation Status, the Data Service should, after 5 working days, generate an estimated reading(s) for the Date of the Change of Energisation Status (reflecting the nature of the Energisation Change) using the most appropriate method from the SDS Method Statement. | Initial read(s) for energisation, Final read(s) for de-energisation | BP008 | 145 | D0010 | SDS - Service Traditional meters
|  |  |  | D0010 on DTN | Change of energisation |  |  |  | BSCP701 | 3.7.2
MHHS-BR-DS-110 | SDS | Provide register meter reading data to Supplier | SDS must send change of energisation register meter readings to the LDSO and Supplier for Traditional meters, where received, via the appropriate interface | Initial read(s) for energisation, Final read(s) for de-energisation | BP008 | 145 | D0010 | SDS - Service Traditional meters
|  |  |  | D0010 on DTN | Change of energisation |  |  |  | BSCP701 | 3.7.5
MHHS-BR-DS-111 | ADS/SDS | Receive change of energisation cumulative reads | ADS/SDS must, where provided by the Metering Service, obtain Advanced and Smart cumulative reads via the appropriate interface on the Data Integration Platform and store for use in the estimation process where no better data is available | Meter Readings (PUB-041) | BP008 | 150 | PUB-041 | SDS - Service Smart meters
[5 empty] | Change of energisation |  |  |  | BSCP701 | 3.7.1
MHHS-BR-DS-115 | ADS/SDS | Process change of energisation reads | ADS/SDS must utilise change of energisation read(s) data for settlement, only where a complete set of validated data is not available from the meter | Details in data processing process. | BP008 | 185 |  | None
[5 empty] | Change of energisation | [5 empty] | This is a general requirement
MHHS-BR-DS-116 | Data Service | Process change of energisation reads | Data Service must re-process any UTC Period Level Consumption Data previously submitted to settlements, where advised of an energisation status change and no actual consumption has been recorded, particularly where this is back-dated | Details in data processing process. | BP008 | 185 |  | None
|  |  |  | Note: only applies to UMSDS if Inventory data is available | Change of energisation | [5 empty] | This is a general requirement
MHHS-BR-DS-117 | ADS/SDS | Receive change of metering notification | ADS/SDS must obtain and process updates to meters and meter technical details via the appropriate interface on the Data Integration Platform | PUB-006 | BP009 | 185 | PUB-006 | None
[5 empty] | Change of Metering |  |  |  | BSCP701 | 3.7.1
MHHS-BR-DS-118 | ADS/SDS | Receive change of metering cumulative reads | ADS/SDS must obtain and process cumulative meter reads (Smart and Advanced only) received via the appropriate interface on the Data Integration Platform and store for use in estimation processes where no better data is available | Initial reads for Exchange and Install, Final reads for Exchange and Removal | BP009 | 180 | PUB-041 | SDS - Service Smart meters
|  |  |  | Meter Readings (PUB-041) | Change of Metering |  |  |  | BSCP701 | 3.7.2
MHHS-BR-DS-121 | SDS | Receive metering updates | SDS must receive Traditional meter updates via the appropriate interface, maintain records accordingly and investigate any discrepancies with data received from the Registration Service. In the case where Related MPANs or Import/Export linked meters exist, SDS should expect to receive Meter Technical Details for all the MPANs in the Related MPAN or Import/Export group. | D0149 and D0150 on DTN | BP009 | 175 | D0149 | SDS - Service Traditional meters | BSCP701 | 3.7.1
[5 empty] | Change of Metering |  | D0150
MHHS-BR-DS-122 | SDS | Receive change of metering register reads | SDS must receive register reads via the appropriate interface for Traditional meters and store for use in estimation processes where no better data is available. Where no reading(s) are provided alongside the change in metering, the Data Service should, after 5 working days, generate an estimated reading(s) for the Date of the Removal of the previous meter(s) using the most appropriate method from the Method Statement. Any newly installed meter should be assumed to have been installed with an index position of Zero. | Initial reads for Exchange and Install, Final reads for Exchange and Removal | BP009 | 175 | D0010 | SDS - Service Traditional meters
|  |  |  | D0010 on DTN | Change of Metering |  |  |  | BSCP701 | 3.7.2
MHHS-BR-DS-123 | ADS/SDS | Process change of metering reads | ADS/SDS must utilise change of metering read(s) data for settlement, only where a complete set of validated data is not available from the meter | Details in data processing process. | BP009 | 225 |  | None |  |  | This is a general requirement
Change of Metering
MHHS-BR-DS-124 | ADS/SDS | Process change of metering reads | ADS/SDS must re-process any UTC Period Level Consumption Data previously submitted to settlements, where advised of any change of metering and no actual consumption has been recorded, particularly where this is back-dated | Details in data processing process. | BP009 | 225 |  | None |  |  | This is a general requirement
Change of Metering
MHHS-BR-DS-125 | Data Service | Receive Meter Point Location (MPL) address/GSP Group ID update notification | Data Service must obtain MPL address/ GSP Group ID updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 | 70 | PUB-018 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-126 | ADS/SDS | Receive domestic premise indicator update notification | ADS/SDS must obtain domestic premise indicator updates via the appropriate interface on the Data Integration Platform, maintain records accordingly and consider impacts to service delivery as required | PUB-018 | BP010 | 160 | PUB-018 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-127 | ADS/SDS | Receive Consent Granularity Indicator update notification | ADS/SDS must obtain Consent Granularity Indicator updates via the appropriate interface on the Data Integration Platform, maintain records accordingly and assess if a change in recovery pattern is required | PUB-026 | BP010 | 230 | PUB-026 | SDS - Service Smart meters
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-128 | ADS/SDS | Change recovery pattern | ADS/SDS must commence collection of settlement period consumption data (active import) in line with the updated customer consent, from the date that the Consent Granularity Indicator update notification is received, even if the date the change in consent was captured is in the past. There is no requirement to alter data that has been previously captured using the previously consented recovery pattern. |  | BP010 | 230 |  | SDS - Service Smart meters
[5 empty] | Change of registration data |  |  |  | BSCP701 |  | data collection process
MHHS-BR-DS-130 | SDS | Update DCC Service Requests | SDS must, via a Meter Data Retrieval Service (MDR), send the required Service Request, as defined in the Smart Energy Code, to the Data Communications Company (DCC) so as to obtain data in line with the updated customer consent, where the change of Consent Granularity Indicator requires this. |  | BP010 | 230 |  | SDS - Service Smart Meters
[5 empty] | Change of registration data |  |  |  | BSCP701 |  | data collection process
MHHS-BR-DS-130.1 | ADS/SDS | Receive Related MPAN update notification | ADS/SDS must be able to obtain Related MPAN updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-020 | BP010B | 380 | PUB-020 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-130.2 | Data Service | Receive Energy Direction update notification | Data Service must be able to obtain Energy Direction updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 (BPM2) | 490 | PUB-018 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-130.3 | Data Service | Receive Metered Status update notification | Data Service must be able to obtain Metered Status updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010 (BPM2) | 610 | PUB-018 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-130.4 | SDS | Receive SMSO update notification | SDS must obtain SMSO updates from Registration Service via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-026 | BP010 (BPM3) | 830 | PUB-026 | SDS - Service Smart meters
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-130.5 | Data Service | Receive Import/Export linkage update notification | Data Service must be able to obtain Import/Export linkage updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-020 | BP010C | 930 | PUB-020 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-130.6 | Data Service | Receive Profile Class/SSC update notification | Data Service must obtain legacy data item (Profile Class/SSC) updates from Registration Service via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-026 | BP010D | 1050 | PUB-026 | None
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-130.7 | SDS | Receive DCC enrolment update notification | SDS must be able to obtain DCC enrolment updates via the appropriate interface on the Data Integration Platform and maintain records accordingly | PUB-018 | BP010D | 1120 | PUB-018 | SDS - Service Smart meters
[5 empty] | Change of registration data |  |  |  | BSCP701 | 2
MHHS-BR-DS-132 | SDS | Qualify to provide a Smart Data Service under the Balancing and Settlement Code | The SDS must be qualified to operate as a Data Service in line with the Qualification Process and the Smart Data Service BSCPs | Exact qualification mechanism and BSCP to be confirmed. The BSCPs will be developed post design, but to be reflective of the requirements/design. The new BSCP will cover the non MHHS process requirements for on site activities eg management of tampering/ theft. | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-135 | SDS | Engage Meter Reading Service | Where a SDS plans to provide a service to support Traditional Meters, that SDS must, where required, engage with Meter Reading Service(s) and agree bilaterally how data will be shared so that the SDS can provide a service for Traditional meters in line with the Smart Data Service BSCP | BSCP to be confirmed. | Overall |  |  | SDS - Service Traditional meters | BSCP701 | 2
MHHS-BR-DS-136 | SDS | Engage Meter Data Retrieval Service | SDS must, where required, engage with a qualified Meter Data Retrieval Service(s) for all Smart meters and agree bilaterally how data will be shared so that the SDS can provide a service for Smart meters in line with the Smart Data Service BSCP | MDR must be qualified to the SEC to retrieve data for settlements from the DCC | Overall |  |  | SDS - Service Smart Meters | BSCP701 | 2
BSCP to be confirmed.
MHHS-BR-DS-137 | All Services | Flexible settlement period duration | All services should, where possible, build in the ability to configure the settlement period duration during their solution design, in order to support any future move to a different settlement period duration | Currently 30 minutes | Overall |  |  | Advice |  |  | This is about system design rather than the service to be provided
MHHS-BR-DS-138 | All Services | Publish data via the Data Integration Platform in agreed ISO8601 date/time format | All services must publish data following ISO8601 format - YYYY-MM-DDTHH:MM:SS±TZH:TZM. |  | Overall |  |  | None |  |  | Formats are defined in interfaces
MHHS-BR-DS-139 | All Services | Receive Industry Standing Data | All services must obtain Industry Standing Data (ISD) update notifications via the appropriate interface, and if required take necessary steps to obtain refreshed ISD data, maintain their records accordingly and reference/ utilise ISD as appropriate as part of the service delivery. | PUB-047 | Overall |  | PUB-047 | None | BSCP701 | 2
MHHS-BR-DS-139.1 | All Services | Map DIP ID/ Role to DTN Market Participant ID/ Role | All services must utilise Industry Standing Data to identify the relevant DIP ID/Role or DTN Market Participant ID/Role, as appropriate, to be used when communicating over the DIP/DTN. | PUB-047 | Overall |  | PUB-047 | None | BSCP701 | 2
MHHS-BR-DS-139.2 | All Services | Message addressing | All services must derive and populate the DIP addressing (primary recipients) for all outbound interfaces in line with the rules described in the interface specification | Note, Addressing functionality is described in the End to End Solution Architecture. | Overall |  |  | None |  |  | general requirement
MHHS-BR-DS-141 | Data Service | Data retention and audit | Data services must retain data in line with the Non Functional requirements |  | Overall |  |  | None |  |  | general requirement
MHHS-BR-DS-142 | All Services | Process data in a timely manner | All services must process data and share outputs with other parties in line with timescales set out in the Operational Choreography document |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-143.2 | All Services | Qualification for Data Integration Platform access | All services must undergo qualification in order to realise operational access to the DIP | Exact qualification mechanism to be confirmed. | Overall |  |  | None |  |  | general requirement
MHHS-BR-DS-143 | All Services | Manage Data Integration Platform error messages | All Services must obtain Data Integration Platform error messages in line with the End to End Solution Architecture, review the impacted data and re-issue corrected messages/transactions as required |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-143.1 | All Services | Inbound DIP message validation | All services must return Data Integration Platform error messages in line with the End to End Solution Architecture. Unexpected and/or un-processable messages should be returned to the DIP/ originating party |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-144 | All Services | Ensure responses received | All services, when transacting via the DIP, must ensure that they implement monitoring so as to identify where expected responses are not received within standard DIP SLA's, as outlined in the Operational Choreography, so that the appropriate investigative/ resolution activity can be undertaken. |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-144.1 | All Services | DIP activity/ performance dashboard | All services must have familiarity with and actively monitor any Data Integration Platform tools for tracking messages, as outlined in the End to End Solution Architecture, so that the necessary investigative action can be taken when required. |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-145 | All Services | Reporting requirements | All services must provide and receive reports in line with agreed reporting requirements and delivery method as outlined in MHHSP-ERI011B ECS reports and interfaces | Service Provider reporting is out of scope of M5 Design Baseline- Performance Assurance requirements to be drafted after M5 | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-146 | ADS/SDS | Identify related MPANs | ADS/SDS, where required, must be able to identify ( using the appropriate interface ) and appropriately manage related MPANs as described in the relevant BSCP | PUB-033, PUB-035, PUB-036 | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-147.1 | SDS | Ability to handle faults for Smart and Traditional Meters | SDS must notify any faulty equipment to the Supplier via a D0001 or bilaterally agreed interface as outlined in the relevant BSCP | For Smart and Traditional meters the Supplier will take the lead investigating faults. The Supplier will be responsible for notifying the Data Service if they require data to be resubmitted as a result of a fault. | Overall |  |  | None
New BSCP to be confirmed.
MHHS-BR-DS-149 | All Services | Ability to use existing DTC flows | Some MHHS processes require the continued use of DTC flows, Services should ensure that if they plan to service customer types that utilise these processes then a mechanism will be required for transmitting/receiving DTC flows. |  | Overall |  |  | None |  |  | requirement is implicit
MHHS-BR-DS-150 | Data Service | Most accurate data for each settlement run | Data Service must ensure that its systems and processes operate in such a way as to support the most up to date and accurate data being available to settlements in advance of the cut off for each formal settlement run as outlined in the Operational Choreography. |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-152 | All Services | Validate data | All Services should implement data validation steps and techniques that they feel are appropriate to ensure the most accurate and efficient delivery of the service |  | Overall |  |  | Advice | BSCP701 | 2
MHHS-BR-DS-154.1 | ADS/SDS | Receive customer details | ADS/SDS must receive Notification of Customer Details from the Supplier via the appropriate interface and maintain records accordingly | D0302 on the DTN | Overall |  | D0302 | None | BSCP701 | 2
MHHS-BR-DS-154.2 | ADS/SDS | Manage previous customer details | ADS/SDS must, on receipt of updated customer details, delete or obfuscate the previously held customer details |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-154.3 | ADS/SDS | Receive Priority Service Register (PSR) details | ADS/SDS must receive Priority Service Details from the Supplier via the appropriate interface and maintain records accordingly | D0225 on the DTN | Overall |  | D0225 | None | BSCP701 | 2
MHHS-BR-DS-154.4 | ADS/SDS | Manage previous Priority Service Register (PSR) details | ADS/SDS must, on receipt of updated PSR details, delete or obfuscate the previously held PSR details |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-154.5 | ADS/SDS | Manage Customer/ Priority Service Register (PSR) details on de-appointment | ADS/SDS must, on receipt of a de-appointment notification becoming effective, delete or obfuscate the previously held PSR and customer details |  | Overall |  |  | None | BSCP701 | 2
MHHS-BR-DS-156 | All Services | Electricity Enquiry Service | All services could choose to take advantage of the Electricity Enquiry Service (EES previously known as ECOES) in order to obtain the current data associated with an MPAN in cases where a query arises around the accuracy of data held. |  | Overall |  |  | Advice |  |  | Technically not a requirement
MHHS-BR-DS-157 | All Services | Manage data on receipt of interfaces | All Services must maintain and update their records with any data received on interfaces to ensure the most accurate and efficient delivery of the service. |  | Overall |  |  | None |  |  | generic requirement
MHHS-BR-DS-158 | ADS/SDS | Receive Change of Segment Meter exchange confirmation | ADS/SDS must be able to obtain a Registration Service Change of Segment Meter Exchange confirmation with MTDs and readings via the appropriate interface on the Data Integration Platform, even when it is from a 3rd party Metering Service (ie not the currently appointed Metering Service). | PUB-006 | BP011A | 285 | PUB-006 | None
[5 empty] | Change of Connection Type/ Change of Segment |  |  |  | BSCP701 | 2
MHHS-BR-DS-159 | ADS/SDS | Receive Change of Connection Type notification | ADS/SDS must be able to obtain Registration Service Change of Connection Type notifications via the appropriate interface on the Data Integration Platform and maintain records accordingly. | PUB-043 | BP011B | 544 | PUB-043 | None
[5 empty] | Change of Connection Type/ Change of Segment |  |  |  | BSCP701 | 2
MHHS-BR-DS-159.1 | ADS/SDS | Receive Invalid Market Segment advisory | ADS/SDS must obtain Invalid Market Segment Advisory notifications, sent from the Registration Service on the Data Integration Platform, via the appropriate interface. | PUB-045 | BP011C | 596 | PUB-045 | None
|  |  |  | Registration Service will run the Advisory Notification process each processing day to identify MPANs with an Invalid Market Segment - that is to say sites with an Invalid Connection Type-Meter Type Combination. | Registration Service Monitoring & Notification |  |  |  | BSCP701 | 2
MHHS-BR-DS-160 | ADS/SDS | Receive Override Read | ADS/SDS must obtain Override Reads, sent by the Supplier on the Data Integration Platform, via the appropriate interface and maintain records accordingly. | PUB-041 | BP016 | 520 | PUB-041 | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.3
MHHS-BR-DS-161 | ADS/SDS | Process Override Read | ADS/SDS must, following consultation with the Supplier if required, use the override read to recalculate any pre-RF consumption and re-issue the consumption data as required. ADS/ SDS should bilaterally agree a process for highlighting and resolving any disagreement in the usage of either Agreed or Override Readings as part of their contractual agreements with the Supplier. |  | BP016 | 540 |  | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.5
MHHS-BR-DS-162 | ADS/SDS | Receive Consumption Amendment Request | ADS/SDS must obtain Consumption Amendment Requests, sent by the Supplier on the Data Integration Platform, via the appropriate interface and maintain records accordingly | PUB-027 | BP016 | 70 | PUB-027 | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.3
MHHS-BR-DS-163 | ADS/SDS | Validate MPAN ownership | ADS/SDS must validate that they were responsible for the MPAN for the Consumption Amendment Period requested |  | BP016 | 80 |  | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.4
MHHS-BR-DS-164 | ADS/SDS | Calculate revised UTC period data | ADS/SDS must calculate the consumption and reactive data, where required, for each UTC period impacted by the Consumption Amendment Request using the relevant Method Statement. |  | BP016 | 85 |  | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.5
MHHS-BR-DS-165 | ADS/SDS | Validate Consumption Amendment | ADS/SDS must validate the UTC period Consumption Amendment data in line with the relevant Method Statement |  | BP016 | 90 |  | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.5
MHHS-BR-DS-166 | ADS/SDS | Reject Consumption Amendment Request | ADS/SDS must publish a Consumption Amendment rejection on the Data Integration Platform via the appropriate interface, where any validation is failed, with the appropriate rejection reason. | MHHS-IF-028 | BP016 | 90 | MHHS-IF-028 | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.6
MHHS-BR-DS-167 | ADS/SDS | Issue revised UTC period data | ADS/SDS must publish validated UTC Period Level Consumption and Reactive Data ( where required ) for the Consumption Amendment on the Data Integration Platform using the appropriate interface | MHHS-IF-021 to Central Settlements, Supplier and LDSO | BP016 | 120 | MHHS-IF-021 | None
[5 empty] | Consumption Amendment |  |  |  | BSCP701 | 3.6.8
MHHS Data Service Requirements - SDS Requirements